## Calculator
Instructions: This calculator is designed to determine the maximum allowed installation for a grid-tied solar PV system. The last 12 months of consumption information should be used. If the service was not in place for 12 months then the consumption data from date of service should be used. 1. Enter the Starting Date for the consumption data (MM/DD/YYYY). This is the "Previous Date" on the first bill in the consumption period. Dates before 1st Jan 2019 are not allowed. 2. Enter the End Date for the consumption data (MM/DD/YYYY). This is the "Current Date" on the last bill in the consumption period. 3. Enter the TOTAL consumption (in kWh) for the period under consideration. NOTE: If the maximum allowed installation exceeds 100kW, then it will require an impact assessment.
Maximum PV Installation Calculator for Grid-Tied Installations
Period of Energy Consumption:
Start Date: |  |  | End Date:
No. of Days | Ent.Start.Date
Total Consumption During Period:
Average Daily Energy Demand: |  |  |  | CheckDates
PV Array Size under STC: |  |  |  | CheckDates
Maximum Allowed Installation: |  |  |  | CheckDates
CheckDates